IB Chemistry HL—IA Methodology

Jerry Hu

12

January 17, 2026

Materials

- 3% Hydrogen peroxide (aqueous)

- Potassium iodide (solid)

- Distilled water

- 250 mL Flask

- 1000 mL Beaker

- 50 mL Beaker

- Rubber stoppers (with holes and pipes)

- Vernier Gas Pressure sensor

- Vernier LabQuest

- Thermometers/temperature probes to monitor water temperature

- Pipette

- Graduated cylinder

- Digital balance

- Metal stick from a ring stand

- Safety goggles

- Lab coat

Methodology

How does temperature affect the rate constant for the decomposition of aqueous hydrogen peroxide, determined from the initial rate of increase of gas pressure in a sealed flask?

Independent variable: Temperature of the reaction (H2O2), measured in Celsius (post-processing in Kelvin).

Table 1. Independent variable trials.

| Temperature / Trials (°C) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 15.0 | 20.0 | 25.0 | 30.0 | 35. | 40.0 | 45.0 | 50.0 |

Note: Temperature in table 1 are formatted in Celsius because the LabQuest reports Celsius.

Dependent variable: Rate of decomposition of H2O2

Controlled variables: Initial concentration of hydrogen peroxide, total volume of gas space in the sealed flask, environmental conditions (temperature, humidity), time interval between pressure readings, and same apparatus (Vernier pressure sensor for all measurements).

Table 2. Other fixed variables.

| Sampling rate | 5 readings / second |
| --- | --- |
| Data collection time per trial | 180 seconds |
| KI mass per trial | 0.5 g |
| H2O2 volume per trial | 25.00 mL |

Part I: Setup.

- Obtain safety goggles and lab coat.

- Prepare, in a 50 mL beaker, a fixed volume of hydrogen peroxide for each trial.

- Using a digital balance, weigh a fixed mass of solid potassium iodide for each trial into separate 50 mL beakers, labelled.

- Obtain a wash bottle, and a waste beaker.

- Assemble the apparatus. Connect the Vernier Gas Pressure Sensor to the LabQuest, and connect the sensor to the airtight tubing. Fit the tubing into one of the two-hole rubber stopper. Seal the second hole on the rubber-stopper.

- With a marker, draw a line horizontally on the flask of the depth level of the rubber-stopper.

- Unscrew a metal stick from a ring stand, and screw it onto the back of a hot plate.

- Prepare a water bath in a 1000 mL beaker, and place it on a hot plate.

- Insert thermometer/temperature probes into the water bath to monitor the water temperature.

- Using tape, fix the thermometer/temperature probe so that it’s not touching the glass base.

- Using the ring stand and clamp, support the pressure sensor above the water bath so the sensor stays dry and the tubing is not pulling on the stopper.

Part II: Preparation of materials.

- Prepare 40 portions of potassium iodide (8 temperatures, 5 trials per temperature). Measure 0.05 g of potassium iodide to each beaker using a digital balance. Record uncertainties, and the mass of each beaker. Label the beakers, and cover each with paper towel to keep dry.

Part III: Calibration.

- With the gas pressure sensor open to the atmosphere, perform a zero/calibration in the LabQuest. Follow procedures from the sensor’s user manual.

- Measure the pressure reading at atmospheric pressure in the classroom environment, for 10 seconds, and record the value.

- Seal an empty, dry flask with the stopper, tubing, and sensor, and run data collection for 60 seconds to test if the stopper is properly sealed. Put a drop of water on your fingers, and rub it around the rubber stopper for a better seal.

- Measure 25 mL of aqueous hydrogen peroxide with a volumetric pipette into an empty flask, and place the flask in the water bath for two minutes. Record the water bath’s temperature at the start and end of equilibrium, in Kelvin.

- To calibrate the volume of air available in the flask, fill the flask with water to the exact stopper insertion line marked on the flask. Then, pour the water into a graduated cylinder to determine the volume inside the flask up to seal line.

  - Then, Vgas=Vtotal-Vsoln, where Vsoln is 25 mL, the volume of hydrogen peroxide.

Part IV: Experiment.

- Assemble the apparatus. Set the LabQuest Data collection to 5 readings / second for 120 seconds.

- Start the data collection and collect a 10 second baseline.

- Add the catalyst:

  - Add some water (2 mL) to the cup, swirl until all visible KI dissolves.

  - Repeat the rinse 2 more times.

  - Lift the rubber stopper, just enough to pour in the 0.05 g potassium iodide, and immediately replace the rubber stopper, and press “Mark” on the LabQuest (define this moment as t=0).

- Swirl the flask for 2 seconds, and keep it still for the remainder of the data collection.

- Save the run when data collection finishes.

- Complete 5 trials per temperature level, with a total of 40 trials.

- Between trials:

  - Dispose of the reaction mixture into the waste beaker.

  - Rinse the flask 2 times with distilled water (using a wash bottle and tap water) each rinse.

  - Dry the flask with paper towel.

Part V: Cleanup.

- Disconnect the gas pressure sensor from the apparatus and LabQuest.

- Place all flasks, beakers, rubber stopper, and tubing into the dirty bin.

- Dispose all solution into the drain, with water flushing.

- Return safety goggles and lab coat.